Preliminary Layout

System Information

Project Information



Name:

Address:

Phone:

|  |
| --- |
| Module make & Type: SolarWorld, SW260 Mono |
| Roof Information: |
| Roof | Mod. Qty | Tilt | Azimuth |
| 1 | 21 | 25 | 230 |
| 2 | 16 | 18 | 230 |
|   |
| Total module qty: 37 |
| System capacity: 9.62kW |

